## Sheet1
Power budget
|  | 1.407 | 1.6191 | Total (Amps @ 115Vac)
Currently |  | 161.8 | 186.2 | Total (Watts)
Description | Short name | Power, typ (W) | Power, max (W) | Notes
weather station | GMX600 | 1 | 1
CO2 analyzer | LI840A | 3.6 | 14
aerosol monitor + pump | E-BAM PLUS | 0 | 0 | plugged into roof-top all-weather outlet
O3 analyzer | Model 205 | 8 | 8
NOx analyzer | Model 405 nm | 16 | 30
datalogger | CR6 | 1 | 1
flowmeter | Model 4043 | 2.2 | 2.2
router/wifi device? |  | 8 | 8
CO2 analyzer pump | KNF | 22 | 22
sampling pump | Gast | 100 | 100
|  | 3.1983 | 3.4104 | Total (Amps @ 115Vac)
Future Planning |  | 367.8 | 392.2 | Total (Watts)
Description | Short name | Power, typ (W) | Power, max (W) | Notes
SO2 monitor | Model 43B | 100 | 100
CO analyzer | TECO 48 | 100 | 100
4-chan radiometer heater |  | 6 | 6
PAR sensor |  | 0 | 0